## Version control
FW Table Release History
Item | Change History | Rev | Releaser
1 | First Release for C2195 EV1 build. | 20211028 | Alexander Wu
2 | Release for C2195 EV2 build. | 20211126 | Alexander Wu
3 | Update for C2195 EV2 build - BFT. | 20211214 | Alexander Wu
4 | Update for C2195 EV2 build - L10. Update HPM CPLD & BIOS. | 20220107 | Alexander Wu
5 | Update for C2195 EV2 build - L10. Update BIOS. | 20220113 | Alexander Wu
6 | Update for C2195 EV2 build - L10. Update commodity FW | 20220114 | Jessie Lin
7 | Update for C2195 EV2 build - L10. Update OCP 3.0 NIC FW | 20220119 | Jessie Lin

## L10
Parts | Vender | Wiwynn PN | Description | FW Version
E1.S | SKHYNIX | M1187346-001$A | SSD,E1.S 15MM, 1920GB, HYNIX,HFS1T9GEEWX | 41191A10
E1.S | SAMSUNG | M1161587-001$A | SSD,E1.S 15MM,1.92TB,SAMSUNG,MZCL21T9HCJ | GDA63M4Q
E1.S | SKHYNIX | M1173423-001$A | SSD,E1.S 15MM,3840GB, HYNIX,HFS3T8GEEWX0 | 41191A10
E1.S | SAMSUNG | M1161592-001$A | SSD,E1.S 15MM,3.84TB,SAMSUNG,MZCL23T8HCL | GDA63M4Q
M.2 | SKHYNIX | M1204900-001$A | SSD,M.2 22110D,960GB,HFS960GDE0X098N,HYN | 41091A10
M.2 | SAMSUNG | M1159486-001$A | SSD,M.2,PM9A3,960GB,SAMSUNG,MZ1L2960HCJR | GDC74M4Q
M.2 | SKHYNIX | M1204901-001$A | SSD,M.2 22110D,1920GB,HFS1T9GDE0X098N,HY | 41091A10
M.2 | SAMSUNG | M1159487-001$B | SSD,M.2,3.8MM,NVME,1.92TB,SAMSUNG,PM9A3 | GDC73M4Q
Celestial Peak | Quanta | M1096519-005$E1/ M1096519-005$D | cat/ proc/ device-tree/ firmware/ version | 0002.09.210624-prd
|  |  | cat/ proc/ device-tree/ firmware/ nitro-version | 0002.09.210624-prd
|  |  | cat/ etc/ os-release | 1908.5.16302083
|  |  | uname -a | Linux localhost 5.4.106-microsoft-standard #1 SMP Sat Jun 19 07:31:30 UTC 2021 aarch64 GNU/Linux
|  |  | cerberus_utility fwversion | 2.4.5.2
NIC | Mellanox | M1168449-001$A | NIC,100G MELX MCX565A-CDAI_C11 OCP3.0 | 16.30.1202
P2011 | Delta | M1129820-001$C | PSU,DELTA ATS,M1129820-001,NON-LES,1800W | 9121700
OS |  |  |  | Windows 2022
TPM |  |  |  | 15.21.16430
Cerberus |  |  |  | 1.5.0.0

## 21W000-SC
21W000-SC HPM EV2 Programmable Part Description
DESCRIPTION (Function) | Location | Unprogrammed Module P/N | 81 P/N | Programming method | Programming factory | File Format | Version | Unprogrammed Module Vendor | Unprogrammed Module Vendor P/N | Programming tool | Checksum | Release Date | Note
CPLD FW | U8 | 073.39400.M003 |  | Lattice Dongle | WYTN | jed, fea | C2195_HPM_0E04 | Lattice | LCMXO3D-9400C-6BG484C5U | Diamond programmer | 0xD881
x8 Retimer FW in EEPROM | U81 | 72.02402.G01 |  | pre-program by vendor | x | bin | pt508_x4x4_normal_cc_X8-VPH1P8V_v1_13_3 | ST | M24M02-DRMN6TP | X | 0xf774e5
x16 Retimer FW in EEPROM | U84 | 72.02402.G01 |  | pre-program by vendor | x | bin | pt516_x16_normal_cc_VPH1P8V_v1_12_0 | ST | M24M02-DRMN6TP | X | 0xf372a3
Power VR firmware | PU2 | 074.192C3.M001 |  | Off-line programmer | WYTN | mic | 1004 | Infineon | XDPE192C3 | off-line programming | 0xEE3EB192
| PU12 | 074.192C3.M002 |  | Off-line programmer | WYTN | mic | 1004 | Infineon | XDPE192C3 | off-line programming | 0x62C57F5B
| PU23 | 074.19283.M002 |  | Off-line programmer | WYTN | mic | 1110 | Infineon | XDPE19283 | off-line programming | 0x501CD1A4

## DC-SCM
C2195 DC-SCM Programmable Part Description
DESCRIPTION (Function) | Location | Unprogrammed Module P/N | 81 P/N | Programming method | Programming factory | File Format | Version | Unprogrammed Module Vendor | Unprogrammed Module Vendor P/N | Programming tool | Checksum | Release Date | Note
CPLD FW | U75 | 073.39400.0B0U |  | pre-program by vendor | x | jed, fea | C2184_SCM_CPLD_v01.04.04 | Lattice | LCMXO3D-9400HC-5BG256C | X | 0x053F
BMC | U16 | 072.25512.0W01 |  | Off-line programmer | WYTN | bin | C2195.BC.0103.00 | Winbond | W25Q512JVFIQ | off-line programming | 73e421a63944c1c9f5b27b6033f788f6
BIOS | U14 | 072.25512.0W01 |  | Off-line programmer | WYTN | rom | C2195.0.BS.1A04.GN.0 | Winbond | W25Q512JVFIQ | off-line programming | B1EBA70B

## 21X037-SB
21x037 140pin riser Programmable Part Description
DESCRIPTION (Function) | Location | Unprogrammed Module P/N | 81 P/N | Programming method | Programmed Code | File Format | Version | Unprogrammed Module Vendor | Unprogrammed Module Vendor P/N | Programming tool | Checksum | Release Date | Note
No need to pre-program in WYTN

## 21X036-SA
21x036 140pin riser Programmable Part Description
DESCRIPTION (Function) | Location | Unprogrammed Module P/N | 81 P/N | Programming method | Programmed Code | File Format | Version | Unprogrammed Module Vendor | Unprogrammed Module Vendor P/N | Programming tool | Checksum | Release Date | Note
No need to pre-program in WYTN

## 21X035-SB
21x035 168pin riser Programmable Part Description
DESCRIPTION (Function) | Location | Unprogrammed Module P/N | 81 P/N | Programming method | Programmed Code | File Format | Version | Unprogrammed Module Vendor | Unprogrammed Module Vendor P/N | Programming tool | Checksum | Release Date | Note
No need to pre-program in WYTN